# Details of Equipment available at R&D Laboratory

| S. No. | Name of the Equipment | Make | Funded by | Cost (INR) | Date of Installation | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | High Content Screening Platform | Thermo Fisher Scientific | DBT | 1,49,00,000 | 31/03/2023 | Working |
| 2. | Bioreactor | Eppendorf | DBT | 89,88,252 | 23/12/2022 | Working |
| 3. | Cooling centrifuge | Remi | ICMR | 4,99,997 | 15/12/2022 | Working |
| 4. | Millipore Filtration Unit | Millipore | DBT | 9,87,210 | 05/02/2022 | Working |
| 5. | Fluorescence Spectrophotometer | Hitachi, Japan | DST- FIST | 14,96,250 | 02/03/2022 | Working |
| 6. | Electrochemical Workstation | Origaly’s France | DST- FIST | 14,91,000 | 27/01/2022 | Working |
| 7. | Real-Time PCR | Applied Bio System | DST- FIST | 19,84,500 | 24/12/2021 | Working |

| 8. | Flow Filtration System | Pall Minimate EVO System | DST- FIST | 6,98,250 | 23/12/2021 | Working |
| --- | --- | --- | --- | --- | --- | --- |
| 9. | ELISA reader and washer | Thermo Fisher Scientific | DBT | 3,59,900 | 06/06/2020 | Working |
| 10. | Refrigerated Centrifuge | Thermo Fisher Scientific | DBT | 7,48,710 | 28.02.2020 | Working |
| 11. | Bio-Dot-Dispenser LFIA | Biotron Healthcare | DBT | 14,49,467 | 21/03/2019 | Working |
| 12. | Biosafety Cabinet | Thermo Fisher Scientific | DBT | 6,45,802 | 15/12/2017 | Working |
| 13. | Chromatography system (HPLC) | Bio-Rad | DBT | 29,16,214 | 13/12/2017 | Working |
| 14. | Shaking incubator | Thermo Fisher Scientific | DBT | 5,54,604 | 30/11/2017 | Working |
| 15. | Bright Microscope | Carl Zeiss | DBT | 23,65,706 | 08/09/2017 | Working |

| 16. | Aquarium Environmental Control System | THE I.L.E. co Chennai | DBT | 9,97,500 | 18/07/2017 | Working |
| --- | --- | --- | --- | --- | --- | --- |
| 17. | Image based cytometer | Thermo Fisher Scientific | DBT | 12,00,000 | 21/06/2017 | Working |
| 18. | Deep freezer (-20 ̊ C) | Remi Elektrotechnik Ltd | UGC | 83,160 | 17/03/2017 | Working |
| 19. | Freeze dryer | Labconco, USA | DBT | 9,03,980 | 30/01/2017 | Working |
| 20. | Rotary evaporator | Inkarp Instruments Pvt. Ltd. | DBT | 2,11,748 | 03/08/2016 | Working |
| 21 | Particle size analyzer | Aimsizer Scientific Ltd., China | UGC |  | 2015 | Working |
| 22 | Probe ultrasonicater | Aimsizer Scientific Ltd., China | UGC |  | 2015 | Working |
| 23 | Spin coater | SPIN NX AGIA | DRDO |  | 2015 | Working |

| 24 | Polishing machine | SSMS Disc Polisher | DRDO |  | 2015 | Working |
| --- | --- | --- | --- | --- | --- | --- |
| 25. | Lyophilizer | Southern India Scientific Corporation. Chennai | UGC | 1,99,374 | 26/12/2013 | Working |
| 26. | Histological Equipment | Leica Microsystems | DBT | 17,28,394 | 24/04/2013 | Working |
| 27. | Gradient PCR | Applied Bio System | DBT | 2,50,000 | 09/03/2013 | Working |
| 28. | Semi dry blot | BioSource & Surgical | DST- FIST | 83,500 | 02/03/2013 | Working |
| 29. | Concentrator Plus | Eppendorf | DBT | 5,00,000 | 15.07.2012 | Working |
| 30. | Vibra Cell Ultrasonic Processor | Mediccare Scientific Supplies | DST- FIST | 2,99,250 | 12.01.2012 | Working |
| 31. | GelDoc system | BioRad | DST- FIST | 7,50,000 | 24.12.2011 | Working |
| 32. | Trans-Blot Turbo Blotting System | BioRad | DST- FIST | 2,00,000 | 24.12.2011 | Working |

| 33. | Gene Pulser Xcell Total System | BioRad | DST- FIST | 2,00,000 | 24.12.2011 | Not working |
| --- | --- | --- | --- | --- | --- | --- |
| 34. | Nanodrop | Nanodrop technologies | DBT | 5,43,818 | 24/03/2010 | Working |
| 35. | Deep freezer (-80 ̊ C) | Thermo Fisher Scientific | DST | 4,78,097 | 17/06/2009 | Working |
| 36. | UV Visible Spectrophotometer | Shimadzu Asia Pacific Pvt. Ltd. | DST | 5,33,300 | 22/03/2009 | Working |
| 37. | Fermentor | Bioengineering | DBT | 10,56,000 | 07/10/2008 | Working |
| 38. | Inverted Microscope | Carl Zeiss, Germany | DBT | 9,73,162 | 28/02/2008 | Working |
| 39. | Master cycler | Eppendorf | ICAR | 4,05,484 | 10/12/2007 | Working |
| 40. | Biophotometer | Eppendorf | DBT | 2,00,000 | 16.04.2007 | Working |
| 41. | Ultracentrifuge | Beckman Coulter | IFCPAR | 25,00,000 | 20/12/2006 | Working |

| 42. | Freeze Control | Cryologic, Australia | DBT | 3,96,520 | 14.11.2006 | Working |
| --- | --- | --- | --- | --- | --- | --- |
| 43. | CO2 Incubator | Thermo Electron Corporation, Hong Kong | DBT | 3,02,806 | 14.11.2006 | Working |
| 44. | Fluorescence Microscope | Carl Zeiss, Germany | ICAR | 3,46,000 | 30/03/2005 | Working |
| 45 | PCR Machine | Technie, UK | MoES | 1,50,000 | 17/02/2003 | Working |
| 45. | Digital camera | Ganesh scientific suppliers | ICAR | 61,000 | 23/07/2003 | Working |
| 46. | BOD incubator | Thermal Carre | UGC | 50,960 | 18/09/2001 | Working |
| 47. | Laminar Air Flow | Clean Air System | UGC | 48,378 | 18/09/2001 | Working |

DRDO - Defence Research and Development Organisation DBT - Department of Biotechnology

DST - Department of Science and Technology ICAR - Indian Council of Agricultural Research MoES - Ministry of Earth Sciences

UGC - University Grants Commission

IFCPAR - Indo French Center for Promotion of Advanced Research DST-FIST - DST Fund for Improvement of S&T Infrastructure ICMR - Indian Council of Medical Research